PREVENTIVE SWITCHGEAR MAINTENANCE

BID #2019B-15

DETAILED SPECIFICATIONS

Jefferson County is requesting bids from qualified sources to provide both routine preventive maintenance and emergency response for the 13.2 KV Switchgear currently installed at the County Public Safety Building for a two-year period.  Emergency service must be provided within ninety (90) minutes of notification by the County, and be available on a twenty-four/seven basis.

All maintenance to be performed as per manufacturer’s recommendations and the Successful Contractor shall be responsible to perform all work as specified.

All work will be performed in a safe and professional manner and the work area will be left in a neat and clean condition.

The Successful Contractor shall be responsible for the following:

- Maintain a satisfactory inventory of repair and replacement parts for the units specified at their warehouse and in their service vehicles.

- Employ certified technicians, and must submit a list of current employees, who would be servicing equipment upon request.

- Shall possess all State and County of Jefferson licenses required to perform the desired work.  Proof of these licenses must be submitted upon demand by an authorized Jefferson County representative.

- Shall warranty all work performed, preventive maintenance and/or repair work for a period of ninety (90) days.

- Provide all tools and equipment necessary to efficiently perform all work in a professional and workmanlike manner.

Detailed description of all completed work indicating labor and parts provided and work performed must be submitted for signature at the time the work is performed, and must accompany all invoices.

If the Contractor expects to incur any additional costs not specified in the above paragraphs, he must submit a list of those items and corresponding charges or schedule with his bid.  There will be no additional charge for delivery or mileage.  No other costs except those placed in the bid proposal at the time the bid is submitted shall be evaluated, considered or deemed acceptable charges by the County of Jefferson.

The minimum level of services to be provided is as follows:

I.  Frequency-Monthly PM:

Read and document switchboard meters

Check, record and test protective relay targets

Check switchboard annunciator lights, replace as necessary

Read and record battery charger voltage and current

Read and record cell/cell voltage on station battery

Inspect battery connections for corrosion

Equalize battery if necessary

Read cell/cell voltage on diesel battery

Equalize diesel battery if necessary

Read and record diesel battery charger voltage and current

Maintain all information in station site manual (logbook).

19

SPECIFICATIONS (cont’d)

II. Annual PM:

Test transfer to generator scheme; simulate loss of power on each phase

Visual inspection of switchgear

Visual inspection of pad mounted transformers

Test ground grid

Provide written report on tests performed

III. Bi-Annual PM:

Test, inspect, clean and adjust eight (8) 13.2 KV circuit breakers

Provide written report on condition of circuit breakers, make recommendations as necessary.

IV. Every Two Years: (To be provided once during the initial two-year contract term)

Test and calibrate twenty-eight (28) protective relays

Provide written report and make recommendations as necessary

V.  All bids must include a list of at least three (3) references including name, address, and contact information for similar services provided within the last two (2) years.

All bidders are encouraged to schedule a site visit to inspect the equipment and verify all conditions.  Questions regarding the technical components of this solicitation should be directed to Mr. Spike Decker at 315-785-5137. The Successful Contractor must perform all work as specified whether or not they attend a site visit.

19a

BID PAGE

Labor Only											        (Parts billed separately)

Two (2) Year Contract Total - Date of Award – September 30, 2021	$

(To include 24 Monthly, 2 Annual, 1 Bi-Annual)

* TO BE BILLED IN EQUAL MONTHLY INSTALLMENTS

Parts: Cost Plus                % upon approval of the County.  (The County reserves the right to require that the Successful Contractor provide documentation to support the cost of parts billed to the County.)

All bids must include an applicable billable rate schedule detailing the following:

Billable Rate Schedule

| TRADE | REGULAR HOURLY RATE | OVERTIME HOURLY RATE | SUNDAYS & HOLIDAYS HOURLY RATE |
| --- | --- | --- | --- |
| Project Manager – Engineer |  |  |  |
| Senior Electrical Technician (PLC Troubleshooting & Programming |  |  |  |
| Electrical Technician |  |  |  |
| Senior Mechanical Technician |  |  |  |
| Mechanical Technician |  |  |  |
| Laborer |  |  |  |

Normal work day (Monday to Friday) between        a.m. and        p.m.

The County must approve all overtime that may be required.

Minimum Charges (If Applicable)

Minimum charge of                hours will be invoiced for scheduled work

Minimum charge of                hours will be invoiced portal-portal for emergency calls.  Emergency response time must be (90) ninety minutes or less.

Please Note Legal Holidays Observed:

New Year’s Day, Martin Luther King, Jr. Day, Presidents’ Day, Memorial Day, Independence Day, Labor Day, Columbus Day, Veteran’s Day, Thanksgiving Day, Day after Thanksgiving, and Christmas Day.

Company Name: _______________________________________      Date: _________________

19b

BID PROPOSAL CERTIFICATIONS

Firm Name: _____________________________________________________________________________________

Business Address: ________________________________________________________________________________

Telephone Number: ____________________________ Fax Number: _____________________________________

Email: ________________________________________ Federal ID Number: _______________________________

I.	General Bid Certification

The bidder certifies that he will furnish, at the prices herein quoted, the materials, equipment, and/or services as proposed on this bid.

Any deviation to specifications is fully explained and attached.  By signing and submitting this bid for consideration to the County of Jefferson, the vendor acknowledges that they have read, understand, and agree to the specifications as presented without reservation or alteration.

Deviations:	Yes___________		No __________

II.	Non-Collusive Bidding Certification

By submission of this bid proposal, the bidder certifies that he is complying with Section 103-d of the General Municipal Law as follows:

Statement of non-collusion in bids and proposals to political subdivision of the state.  Every bid or proposal hereafter made to a political subdivision of the state or any public department, agency or official thereof where competitive bidding is required by statute, rule, regulation, or local law, for work or services performed or to be performed or goods sold or to be sold, shall contain the following statement subscribed by the bidder and affirmed by such bidder as true under the penalties of perjury: Non-collusive bidding certification.

A.			By submission of this bid, each bidder and each person signing on behalf of any bidder certifies, and in the case of a joint bid each party thereto certifies as to its own organization, under penalty of perjury, that to the best of its knowledge and belief:

(1)  The prices in this bid have been arrived at independently without collusion, consultation, communication or agreement, for the purpose of restricting competition, as to any matter relating to such prices with any other bidder or with any competitor.

(2)  Unless otherwise required by law, the prices which have been quoted in this bid have not been knowingly disclosed by the bidder and will not knowingly be disclosed by the bidder prior to opening, directly or indirectly, to any other bidder or to any competitor; and

(3)  No attempt has been made or will be made by the bidder to induce any other person, partnership or corporation to submit or not submit a bid for the purpose of restricting competition.

B.				A bid shall not be considered for award nor shall any award be made where A. (1)(2) and (3) above have not been complied with; provided, however, that if in any case the bidder shall so state and shall furnish with the bid a signed statement which set forth in detail the reasons therefore.  Where A.(1)(2) and (3) above have not been complied with, the bid shall not be considered for award nor shall any award be made unless the head of the purchasing unit of the political subdivision, public department, agency or official thereof to which the bid is made, or his designee, determines that such disclosure was not made for the purpose of restricting competition.

(1)  The fact that a bidder (a) has published price lists, rates, or tariffs covering items being procured, (b) has informed prospective customers of proposed or pending publication of new or revised price lists for such items, or (c) has sold the same items to other customers at the same prices being bid, does not constitute, without more, a disclosure within the meaning subparagraph one (a).

Printed Name of Signer _____________________________

Authorized Signature _______________________________

Title _____________________________________________						Date _____________________________________________

19c

NON-BIDDER’S RESPONSE

For purposes of maintaining accurate Bidder’s lists and facilitating your firm’s response to our invitation for bid, the County of Jefferson is interested in ascertaining reasons for prospective Bidder’s failure to respond to invitations for bids.  If your firm is not responding to this bid, please indicate the reason(s) by checking any appropriate item(s) below and returning this form to the Jefferson County Purchasing Director, 195 Arsenal Street, Watertown, New York 13601.  This form may be returned by mail or fax.  Faxes may be sent to 315-785-7591.  Failure to submit either a bid proposal or return this form will result in removal of your firm’s name from our Bidder’s lists.  Thank you for your cooperation.

We are not responding to this invitation for bid for the following reason(s)

Items or materials requested not manufactured by us or not available to our company.

Our items or materials do not meet specifications.

Specifications not clearly understood or applicable (too vague, too rigid, etc.)

Quantities too small.

Insufficient time allowed for preparation of bid.

Incorrect address used.  Correct mailing address is:

Our branch/division handles this type of bid.

Correct name and mailing address is:

We are unable to bid at this time but would like to continue to receive invitations for bids.

We are unable to bid and wish to be removed from the Bidder’s list.

NAME OF FIRM:

MAILING ADDRESS:

CITY/STATE/ZIP CODE:

BY:

Signature of Representative

DATE:

Bid Number:	 2019B-15       		Bid Name: PREVENTIVE SWITCHGEAR MAINTENANCE

19d

Attachment

Certification Pursuant to Section 103-g

of the New York State

General Municipal Law

- By submission of this bid, each Bidder and each person signing on behalf of any Bidder certifies, and in the case of a joint bid, each party thereto certifies as to its own organization, under penalty of perjury, that to the best of its knowledge and belief that each Bidder is not on the list created pursuant to paragraph (b) of subdivision 3 of Section 165-a of the New York State Finance Law.

- A Bid shall not be considered for award, nor shall any award be made where the condition set forth in Paragraph A above has not been complied with; provided, however, that in any case the Bidder cannot make the foregoing certification set forth in Paragraph A above, the Bidder shall so state and shall furnish with the bid a signed statement which sets forth in detail the reasons therefore.  Where Paragraph A above cannot be complied with, the Purchasing Unit to the political subdivision, public department, agency or official thereof to whom the bid is made, or his designee, may award a bid, on a case by case basis under the following circumstances:

- The investment activities in Iran were made before April 12, 2012, the investment activities in Iran have not been expanded or renewed after April 12, 2012, and the Bidder has adopted, publicized and is implementing a formal plan to cease the investment activities in Iran and to refrain from engaging in any new investments in Iran; or

- The political subdivision makes a determination that the goods or services are necessary for the political subdivision to perform its functions and that, absent such an exemption, the political subdivision would be unable to obtain the goods and services for which the contract is offered.  Such a determination shall be made in writing and shall be a public document.

Signature

Title

Date					Company Name

19e